# Partial purification of DEVDase from Arabidopsis seedlings Materials

## Methods

A bacitracin affinity column was prepared using CNBr-activated sepharose 4B and treated with 2% BSA. Protein was extracted from three weeks old Arabidopsis seedlings exposed to 50 kJ/m2 UV-C and loaded onto bacitracin sepharose column equilibrated with protein extraction buffer. The column was connected to a protein station (Bio-Rad Laboratories, US) with a pump at a flow rate of approx. 1ml/min, a UV lamp to monitor protein concentration by measuring absorbance at 280nm, a conductivity meter to measure salt concentration and a chart recorder. After washing with plenty of wash buffer, the bacitracin-bound protease was selectively eluted and 4ml fractions were collected.

## 2.8 Purification of recombinant protein

## 2.8.1 Protein purification using Ni-NTA and TALON cobalt resins and refolding

## Materials

Formate (Sigma) 1M

Porcine pepsin (Sigma)

## Lysis buffer

Sodium phosphate buffer 50mM

(pH 8.0 for Ni-NTA resins, pH7.0 for TALON cobalt resins)

NaCl 300mM

Lysozyme (Sigma) 10 mg/ml

## Wash buffer for protein purification under native condition

Sodium phosphate buffer 50mM

(pH 8.0For Ni-NTA resins, pH7.0 for TALON cobalt resins)

NaCl 300mM

## Elution buffer for protein purification under native condition

Sodium phosphate buffer 50mM

(pH 8.0For Ni-NTA resins, pH7.0 for TALON cobalt resins)

NaCl 300mM

Imidazole 150mM

## Denaturing buffer/ Wash buffer for protein purification under denaturing condition

Sodium phosphate buffer, pH 7.0 50mM

NaCl 300mM

Urea 8M

## Elution buffer for protein purification under denaturing condition

Sodium phosphate buffer, pH 7.0 50mM

NaCl 300mM

Imidazole 150mM

Urea 6M

## Denaturing dilute buffer

Tris-HCl 100mM

EDTA 5mM

Urea 6M

## Dialysis tubing preparation buffer

Na2CO3 2%

EDTA 1mM

## Dialysis buffer I

Sodium phosphate buffer, pH 7.0 100mM

EDTA 5mM

Cysteine 5mM

## Dialysis buffer II

Sodium phosphate buffer, pH 7.0 100mM

EDTA 5mM

## Methods

Auto-induced E.coli producing recombinant protein was spinned down and lysed using 5min sonication with lysis buffer. After 11,000rpm centrifugation at 4°C for 30min, supernatant was collected for native purification and pellet was used in denaturing purification. Supernatant was mixed with pre-equilibrated Ni-NTA resins or TALON cobalt resins respectively and rotated at 4°C for 1 h (20µl 50% slurry resins was added into1ml supernatant). Resins were therefore loaded onto 5ml column and washed for four times. Recombinant protein was eluted in 1ml elution buffer after wash.

Dialysis tubing was boiled in dialysis tubing preparation buffer at 70°C for 10min and then washed. After another boiling at 70°C for 10min in 1mM EDTA buffer, dialysis tubing was reserved in freezer. Pellet obtained from lysed E.coli was resuspended in denaturing buffer and mixed with pre-equilibrated TALON resins. After rotation at 4°C for 1 h, resins were loaded onto 5ml column and washed for four times. Recombinant protein was eluted in 1ml denaturing elution buffer and diluted to the concentration of 10µg/ml. After dilution, denatured protein eluate was loaded into prepared dialysis tubing and dialysed in 100×vol dialysis buffer I at 4°C for 15h. Another dialysis was subsequently carried out in 100×vol dialysis buffer II at 4°C for 4h to remove cysteine. Recombinant protein after dialysis was acidified to pH 3.5 and activated using pepsin at molar ratio of 1:100. After activation, pH was increased to 7.0 with 1M sodium phosphate pH8.0 to inactivate pepsin.

For the purification of recombinant protein produced in insect cell, TALON cobalt resins were applied. Transfected insect cell was cultured in flask in 28°C CO2 incubator for 48h and spinned down in 1000 rpm centrifugation. Supernatant was mixed with TALON cobalt resins and rotated at 4°C for 1 h. Resins were therefore loaded onto 10ml column connected to a Bio-Rad protein station with a pump at a flow rate of approx. 1ml/min. Recombinant protein was eluted in 1ml elution buffer after wash.

## 2.8.2 Protein purification using cation exchange chromatography

## Materials

HiTrap SP FF (GE Healthcare) 1ml

## Start buffer, pH 4.5

NaOAc 50mM

## Elution buffer, pH 4.5

NaCl 0.1M-1M

NaOAc 50mM

## Methods

Recombinant protein was acidified to pH 4.5 and loaded at a flow rate of 1ml/min onto a 1ml HiTrap SP FF cation exchanger pre-equilibrated with five times volume of start buffer. The column was washed with two times volume of start buffer and eluted with a linear gradient elution buffer containing NaCl from 0.1M to 1M.

## 2.8.3 Protein purification using miniS FPLC

## 2.9 Fluorimetric assay of enzymatic activity

## Materials

Synthetic fluorescent substrates (Bachem Ltd.) 10mM

Inhibitors

## 2×enzymatic assay buffer, pH 5

NaCl 200mM

NaOAc 50mM

Adjust pH to 5 with acetic acid

DTT 3mM

1×Roche complete inhibitor cocktail

2×enzymatic assay buffer, pH5 (For enzymatic assay after lactone and PnLD treatment)

HEPES 100mM

KCl 50mM

NaCl 20mM

MgCl2 2mM

## Methods

Enzymatic activity of protein samples was measured using synthetic fluorescent substrates in a Fluoroskan Ascent microplate fluorometer (Labsystems, DYNEX Technologies, US). For substrates conjugated with 7-amino-4-methylcoumarin (AMC), excitation wavelength was used at 355nm and emission wavelength was used at 460nm. For Ac-DEVD-rhodamine110, excitation wavelength was used at 485nm and emission wavelength was used at 538nm. Slope detected is around 1 FLU/min. Eliminate the first 5 readings (10 min) and express slope as FLU/min/mg protein. For inhibitory efficiency analysis, protein samples were incubated with inhibitors at the final concentration 100µM or 1mM at 30°C for 30min before enzymatic activity assay.

## 2.10 Agrobacterium-mediated in-planta transformation

## Materials

Sucrose 5%

Silwet L-77 (OSi)

## YEP medium

Yeast extract 10g/l

Peptone 10g/l

NaCl 5g/l

## Methods

10µg DNA plasmid was added into 50µl Agrobacterium, kept on ice for 5 min and then transferred to liquid nitrogen for 5 min. After 5 min incubation at 37°C, 1ml LB broth was added. Mixture was recovered on a rocking table for 4 h at room temperature and then spread on LB agar culture medium with appropriate antibiotics for T-DNA vector as well as plasmid of interest. Transformed Agrobacterium was cultured in 3ml YEP at 30°C overnight. Culture medium with transformed Agrobacterium was then inoculated into 200ml YEP and cultured at 30°C overnight in agitation. Cells were spinned down and then resuspended using 5% sucrose with Silwet in magenta. Arabidopsis was inverted into the vacuum basin with plant flowers and stem submerged into infiltration solution and 104 Pa of vacuum pressure was applied for 30 sec.

## 2.11 Transgenic plants screening

## Isolation of double knockout homozygous plants

Arabidopsis seeds from F1 progeny of double knockout lines were grown on composts and genomic DNA was extracted. Genotyping PCR was carried out using primers for AtCathB genomic gene sequence and primer for T-DNA insertion (LBb1). Genotype of homozygous double knockout was confirmed by RT-PCR.

## Table 2.8 Primers used in genotyping PCR

## Gene Primer Primer Sequence 5’-3’ Annealing TM (ºC)

## GCCAATGAGCTTAACTGCATG

## AGAGTTTAAGCGACTCCTCGG

## CGTTGGTCACACATAGTGCAG

## GACAATACTGGTTGCTCGCAC

## TAGGGACATTGTGGTTCTTGC

## TCCACATTCATTAGTTCCTCTCC

## GCGTGGACCGCTTGCTGCAACT

AtCathB-1 118LP 60

AtCathB-1 118RP 60

AtCathB-2 030LP 60

AtCathB-2 030RP 60

AtCathB-3 629LP 60

AtCathB-3 629RP 60

T-DNA insert LBb1 60

## Table 2.9 Primers used in confirmatory RT-PCR

## Gene Primer Primer Sequence 5’-3’ Annealing TM (ºC)

## 60

## 60

## 55

## 55

## 61

## 61

## 58

## 58

## S-4F

## S-4R

## 714F

## 1050R

## 775F

## 1080R

## 687F

## 1023R

## GGCCATGGCTGATAGTTGTTG GACTCGAGACTGAGGAAACCAG

## TAGTGCGTACAAGGTCAG

## ACCTTTAACTACGTTCCTG

## CCTGTTGAGGTTGCCTTCAC

## CTTCTTTTTGGGTTGAAAGTCG

## GAGCGAGTCGAAGCATTAC

## AGGCAAACCAGCTACTGG

AtCathB-1

AtCathB-1

AtCathB-2

AtCathB-2

AtCathB-2

AtCathB-2

AtCathB-3

AtCathB-3

## Isolation of triple knockout homozygous plants produced by amiRNAs silencing

Arabidopsis seeds from F1 progeny were grown on MS culture medium containing 100µg/ml hygromycin. Arabidopsis seedlings resistant to hygromycin were transferred to composts medium for further growth in short day light chamber. Total RNA was then extracted from these plants respectively and expression of AtCathB-1 gene was detected using RT-PCR with AtCathB-1-S-4F primer and AtCathB-1-S-4R primer.

## 2.12 PCD induced by oxidative stresses

## UV-C irradiation of Arabidopsis seedlings

Arabidopsis seedlings or protoplasts were irradiated in a UV-C Stratalinker with 8 watt, 254nm UV-C light bulbs. 50KJ/m2 UV-C was delivered to Arabidopsis seedlings to induce proteolytic activity and AtCathB gene expression. 30 KJ/m2 UV-C was delivered to Arabidopsis leaf discs for ion leakage conductivity measurement. 10KJ/m2 UV-C was delivered to protoplasts isolated from Arabidopsis seedlings for cell death detection. After UV-C irradiation, incubation in light chamber was applied on samples before further experiments.

## Methyl viologen treatment of Arabidopsis

For germination and cotyledon bleaching analysis, various concentrations of methyl viologen from 0.25µM to 10µM were supplemented into MS culture medium without glucose. For proteolytic activity and AtCathB gene expression induction using methyl viologen, two weeks old Arabidopsis seedlings grown on MS culture medium were transferred onto MS culture medium supplemented with 25µM methyl viologen and an additional 5 h growth in light chamber was followed.

## H2O2 treatment of Arabidopsis

For ion leakage measurement, 30mM H2O2 was applied to induce PCD in Arabidopsis leaf discs. For proteolytic activity and AtCathB gene expression induction using H2O2, two weeks old Arabidopsis seedlings grown on MS culture medium were transferred onto MS culture medium supplemented with 30mM H2O2 and an additional 5 h growth in light chamber was followed.

## 2.13 Isolation of protoplast from Arabidopsis seedlings and cell death detection

## Materials

## Leaf digestion medium

1 ×Murashige & Skoog medium (Sigma)

Sucrose 0.4M

Cellulase R-10 Onozuka (Yakult Honsha Co. Ltd) 0.96%

Macerozyme (Yakult Honsha Co. Ltd) 0.64%

## W5 medium, pH 5.6-5.8

NaCl 154 mM

KCl 5 mM

Glucose 5 mM

CaCl2 125mM

## Protoplast culture medium, pH5.8

1 ×Murashige & Skoog medium (Sigma)

Sucrose 0.4 M

D-mannitol (Sigma) 0.4 M

MES 0.5g/l

## 0.5% Evans’ Blue stock solution

## Methods

The following procure was carried out on the flow bench. The leaves cut from Arabidopsis seedlings were laid in 10 ml digestion medium in a 90 mm diameter sterile plastic petri dish. The petri dish was sealed with parafilm and incubated at 20ºC in dark for 16 h without shaking. The liquid was pipetted up and down gently for several times to free the protoplasts. A sterile 100 µM sieve were fixed on top of a 38 µM sieve and put on a 50 ml glass beaker. 10 ml protoplast suspension were poured over the sieve mesh into one 14 ml sterile plastic screw cap centrifuge tube and sealed with parafilm. The suspension was spin down at 600 rpm, room temperature for 10 min. The protoplasts were in the floating band on top of the liquid after the centrifugation. The protoplasts were transferred to a new tube and mixed with 10ml W5 medium. The mixture was centrifuged at 600 rpm, room temperature for 5 min as washing. The protoplasts were in the pellet after the centrifugation and resuspended with another 10ml W5 medium. The washing step was repeated twice. The protoplast was observed using the microscope and the number of living cells in every 100 cells was calculated as the density. The protoplasts were suspended and diluted to 106/ml using the culture medium. 1ml protoplast was added to on well and 3 replicates were detected for each sample. 10 KJ/m2 UV-C was used as the PCD stimulus. The protoplasts were then incubated in continuous light for 4 h. 50µl protoplast suspension in each well was pipetted into an eppendorf tube and 1µl Evans’ blue stock solution was added into the tube. After incubation at room temperature for 5 min, the stained suspension was loaded on a slide and observed under the microscope (Leica, Germany). The percentage of number of Evans’ blue stained protoplasts over the total protoplast number was calculated as the cell death rate.

## 2.14 Ion leakage conductivity measurement

## Materials

Horiba ion conductivity meter (Horiba Ltd., Kyoto, Japan)

Calibration Buffer (as the conductivity of 1.41mS/cm)

KCl 0.01M

## Methods

Arabidopsis grown on compost was watered 1 d before ion leakage conductivity measurement. Leaf discs were cut out from the mesophyll using a 3 mm metal borer and the mid-rid were avoided. Three discs were immersed into 1100 µl MilliQ water per one well. 30 KJ/m2 UV-C was used as stimulus. 1 h after the immersion, a measurement was taken using 100 µl as a blank. The petri dishes were then incubated in continuous light and ion leakage conductivity was measured after 18 h. The conductivity was calculated by subtracting the pre-reading and the 3 replicates were averaged.

## 2.15 Biolistic particle bonbardment

## Materials

Gold particles (Invitrogen Co. Ltd., US)

CaCl2 1M

Spermine (Sigma) 0.1M

Biolistic PDS-1000/HE Particle Delivery System (BIO-RAD Laboratories, US)

## Methods

5µg of DNA plasmid was bound onto gold particles by mixing with 250µl 1M CaCl2 and 20 µl 0.1M spermine and then two times wash using 100% ethanol. DNA coated gold particles were resuspended and deposited on the macroprojectiles. Bombardment of onion epidermis was carried out using biolistic PDS-1000/HE particle delivery system connected with a vacuum. Fired onion epidermis was observed after 2 d incubation in dark using Leica DM5500 microscope fitted with a Photometrics cascade II 512B EMCCD camera (Photometrics UK).