# Appendix

### Discussion section

- 1. For calculations please refer appendix.

It is clearly evident from the results that Bi-Uret and UV Absorption assay resulted in most accurate unknown protein concentration while Bradfort and Lowry assay gave poor agreements among these four methods. The reason could be the amount of protein sample that is used in different assay. In Bi-uret the amount is in milligrams which is sufficient to generate accurate results while in lowry assay the unstability of Folin-Ciocalteu reagent could be an important factor contributing towards error percentage

- 2. R2 Values for different assay:

Bi-Uret assay: 0.7325

Lowry assay: 0.9957

Bradfort Assay: 0.9831

After comparing different R2 values we come across that out of these 3, Lowry Assay is most reproducible as its R2 value is .9957 which is very close to 1 indicating successful prediction of future outcomes While Bi-uret assay is least reproducible due to its R2 value fairly less than 1.00 as the data points didn't confirmed a proper linear relationship, Bradfort assay still holds good as predicted from its R2 value and somewhat linear relationship of data points. So in nutshell we can conclude that assay with higher R2 value will give a good agreement between replicated and duplicated trials2

- In accordance with lab 3, sensitivity can be defined as the ability of an assay to generate accurate results even if extremely dilute sample of unknown protein is used.

Bi-Uret Assay: This assay is least sensitive of the 4 methods that are used to calculate concentration of unknown protein sample primarily due to the fact that for this method to be effective {to produce a detectable colour}, amount of unknown protein sample should be at least in milligrams and moreover there are some sort of interference effects that contributes towards decreased sensitivity

Lowry Assay: This is quite sensitive method for quantification of proteins as colour development can be seen even with very dilute samples of unknown proteins(2-100�g/ml)1. Although it doesn't show linear relationship between protein concentration and absorbance; yet its 100 folds more sensitive than Bi-uret2

Bradford Assay: It involves usage of a protein binding dye known as Coomassie Brilliant Blue G and colour is reported within five minutes which last for about one hour. This assay shows sensitivity even with extremely dilute concentrations(2-20�g/ml)1of unknown sample. So in a way this assay is most reliable when it comes to quantification of unknown protein sample and compared to lowry assay it is 4 times more sensitive

Estimation by UV Spectrum: This method is quite simple and easy for calculating concentration of protein sample given its extinction coefficient and there is no loss of sample2. But if nucleic acids are present then we should follow some specific measures(as described by Warburg and Christian) to encounter them as their absorption maxima is at 260nm which will result in lower yield of protein sample. Again minimum concentration of protein sample should be greater than 100�g for this method to be effective

Assay's sensitivity is an important factor when we are going to perform protein quantification because each of the above 4 methods requires a certain minimum amount of protein sample in order to produce a visible colour change which forms the basis of absorption spectroscopy. so in order to get results with minimum variance proper assay must be chosen after taking into account the interference affects and other minimum requirements

- Experimentally obtained value of Extinction co-efficient: 0.647

Theoretical value:0.6675

The reasons for discrepancies could be interference produced by nucleic acids due to which experimental value is less than expected one.Moreover environmental factors like temperature fluctuation, air resistance and gases present in the air also contribute

- Out of the four assays used, Estimation by UV Absorption spectrum is best method which will give results as per expectation.The reason being it doesn't require addition of any specific reagent and incubation is not a necessity for this assay. when we plot a graph between mass of protein and absorbance then a linear relationship is obtained. Moreover the effect of interference caused by different nucleic acids can be minimised by taking ratio of extinction coefficients at 280 and 260 nm respectively( Warburg and Christian)3.The main advantage could be that unlike other assays it doesn't involve role of a dye to bring a change in colour

- As compared to Analyte sample, a Blank has usually everything except your analyte compound/unknown substance under examination.So when we run blank followed by unknown sample the instrument subtracts spectrum of blank from the spectrum of the unknown solution and finally what we have is spectrum of our analyte compound

- According to the given protocol, UV spectrum assay can be discarded straight away reason being the high contamination caused by nucleic acids because of their absorption spectrum at 260 nm

Secondly if i am expecting a low amount of protein then Bi-Uret is not a good choice as it requires the amount of protein in milligrams. The next thing on protocol is EDTA and DTT which will cause interference with Lowry assay4. So ideal one would be Bradfort's assay which is very less sensitive to interference effects

### Reference Section:

- Stoscheck, C.M (1990). Meth.Enz. 182: 50-68

- BCMB 301A lab manual by Janice keliher,Allison muffey and Adriane white

- Layne, E. (1957) Meth.Enz 3: 447-454

- Robyt, J.F. and White,B.V. (1987) Biochemical principles: Theory and practise p.44-49, 231-236. Waveland Press inc. Illinois

- Sigma Product information. (2007)Bovine serum Albumin. Sigma Chemical company