# How microdissection enables researchers to isolate tissue cells

## LASER CAPTURE MICRODISSECTION

## Introduction:

Microdissection is a procedure which enables researchers to isolate cells of interest from a tissue. Several manual and laser based Microdissection techniques have been developed among which Laser capture microdissection(LCM) is the most widely used. LCM was developed by Emmert-Buck ,Loitta and Bonner in 1996.

## Principle & working

The main principle involved in LCM is the capture of cells on to a thermoplastic membrane with the help of a laser.

As shown in the figure a plastic membrane is attached to a specialized cap and aligned with the cells of interest visualized by an inverted light microscope. Then the laser beam is applied which melts the plastic membrane, thus embedding the cells of interest onto the plastic.The transport arm (in figure) lifts up the cap thereby separating the cells from the tissue.

Borrowed from TIG JULY 1998 VOL. 14 NO. 7 Page 274 (Laser-capture microdissection: opening the microscopic frontier to molecular analysis)

## Applications

One of the Major applications of LCM is its use in Cancer Genome Anatomy Project( CGAP) in which the technique has been used to isolate tumour cells from pathological tissue to study gene expression.LCM can also be employed to isolate cells in organ systems to study cellular functions and interactions. Therefore by using LCM for isolation of cells from a diversity of tissues and by employing various downstream analytical techniques ,LCM can be used in :

Gene expression and proteomic analysis

Loss of heterozygosity analysis

Embryological studies

Forensic analysis

Production of c-DNA libraries

## Advantages

1.Isolation of cells can be performed by extreme precision

2.Each shot ( 1 capture ) takes just about a second to perform ; The process is extremely fast

3.Tissue damage does not occur ( the selection and capture is a positive selection method)

## Limitations

1.Visualization of tissue in LCM microscope is not of high quality due refractility as cover slipping is not possible.(can be overcome by addition of xylene)

2.Only Small quantities of nucleic acids are obtained by LCM dissected tissue ( can be overcome by using DNA and RNA amplification protocols)

3.Traditional tissue fixation ( formalin fixation) cannot be used as it limits the molecular analysis ( overcame by alcohol fixation methods; this is a limitation for any microdissection method)

Note :Advantages and limitations apply only to sanger sequencing method

Allied techniques: Laser cutting, laser catapulting , Scanning Laser dissection ,UV laser microdissection

## DNA SEQUENCING

Introduction: DNA sequencing essentially is a technique which enables researchers to find out the exact sequence of nucleotides in genes. This technique has been pivotal in making quantum leaps in biotechnology , understanding evolution and Forensic science making it a very crucial technique in molecular biology. There are several methods available for sequencing DNA , for example , chemical sequencing , chain terminator sequencing and High throughput sequencing. Of these methods , the most generally used method is Chain termination method or Sanger Method which was invented by Fredrick Sanger in 1977.

Working Principle :.In sequencing by Sanger method,The template strand of the DNA of interest is allowed to amplify in 4 different Polymerase chain reactions in a mixture of all four normal nucleotides ( deoxynucleotide triphosphate) and a fluorescently labelled dideoxy nucleotide triphosphates ( one type in each reaction).The DNA gets synthesized normally as long as the normal deoxynucleotides are being added but when by chance a dideoxynucleotide is added on to the chain , as the modified nucleotide cannot form 5’-3’ phosphodiester bond the chain gets terminated. Thus in each PCR , there will be several DNA strands terminated at various positions. When gel electrophoresis is performed in 4 lanes ( 1 lane for each PCR ) one would obtain several bands in each lane based on where the termination has occurred. Now the sequence of the sense strand( in 3’ to 5’) directly corresponds to the order of the bands on the gel.

( Image borrowed from themedicalbiochemistrypage.org, copyright M W king 1996)

## Applications:

DNA sequencing has played a pivotal role in Human genome project which then had a great impact on biomedical research.( Association of Genotype with Phenotype considering minute details became possible)

It is a very important step in Genetic engineering ( Knowing the sequence is prerequisite to achieve expected gene manipulation)

DNA sequencing can be used to diagnose genetic diseases like alzheimers disease , huntington’s disease etc even before the onset of the disease.

It is also used in case of “environmental sequencing” in which bacterial from their native environments are sequenced in an effort to understand the impact of environment on genotype and thus phenotype of organisms

Advantages : 1. It is simpler method compared to its preexisting method , which involved chemical modification of DNA and cleavage at specific sites.

2. As it is simpler it does not use too many toxic chemicals and radioactive labeling like its precursor methods.

3.Long sequences DNA can determined by applying a technique called “primer walking” to sanger’s method.

Limitations: 1. Design of the sequencing primer is not successful always.

2. The procedure is extremely time consuming.

3. The technique is extremely costly at a large ( costs 1$ per Kilo base)

Allied Techniques : Automated DNA sequencing , Shotgun sequencing

## FLOW CYTOMETRY

Introduction : Flow cytometry is a technique in which particles , usually cells ( incase of biology) can be counted , examined for several physical properties. The very first flow cytometric devices are based on principle that particles produce an impedance based on their size, however modern flow cytometers use optic systems to generate data. In recent years , flow cytometers have been modified to achieve cell sorting.

Principle & working : The technique is based on the 2 major principles

when a sample is made to flow through a channel in which a fluid is flowing at a faster rate , the particles in the sample form into a single file. This is called hydrodynamic focusing.

when a light beam hits the particle , it scatters . detection of the scattered can give information about the cell volume and cell surface texture

Thus , by analysis of the scattered light by optical detectors , researchers can know the number of cells ( as scattering signal of each particle is detected separately) and understand the physical properties of cells. Using fluorescence labeling and fluorescent detectors in flow cytometry , cells can also be identified and sorted.

In cell sorting, the stream is made to break into droplets ( each droplet has 1 cell) , based on the cell type detected by fluorescent detector. The surface of the droplet is electrostatically charged.The differentially charged droplets are separated using a electrostatic deflection system.

(Image borrowed from sonyinsider.com/icytmissiontechnology)

Applications: 1. DNA content analysis can be performed by using DNA probes and flow cytometry to determine the phase of cell cycle in which the cells are.

2. Apoptosis can be studied by this technique as the cells become more permeable to fluorescent dyes and have variable size from normal cells at the time of apoptosis.

3.flow cytometry varied applications in heamotology such as quantification of fetal cells in mother ( for administration Rh globulin ), assessing leukocyte contamination , platelet analysis etc.

4. flow cytometry is also employed in immunological monitoring of leukocytes( decline in T-cells) in AIDS patients

5. It is also used to immunophenotype cells ( this is inturn applied in diagnosis of lymphomas)

Advantages: 1. The technique extremely rapid and very accurate over preexisting cell counting methods such as heamocytometer and plate count ( microbiology)

2. The technique can be used to monitor an exhausting list of parameters in a single experiment.

Disadvantages: 1. The technique is extremely sensitive to contamination and heavy upstream processing of sample is required.( a uniform suspension of cells has to prepared)

2. when being employed in high throughput , the technique becomes extremely costly.

3. Sometimes the data produced by flow cytometry is overwhelming and is difficult to analyze.

Allied Techniques: multispectral imaging flow cytometry, coulter flow cytometry.

## WESTERN BLOT

Introduction: This is an analytical technique which is employed to find out and quantify proteins in a given sample of cells. It is not a technique in itself but it uses a combination of Gel electrophoresis to effect the separation of proteins and immunostaining to identify proteins.It was first developed by Dr George Stark in his laboratory at Stanford.

Working Principle: The detection and quantification of proteins by western blot occurs in 4 steps.

First the cells from the given tissue are lysed using lysis buffers , the lysates containing proteins are denatured by adding sodium dodecyl sulphate ( provides uniform negative charge to proteins) and the sample is made ready to load onto the gel by mixing it with loading buffer.

The samples are loaded on previously prepared gels and the gel is run.( ie a voltage is applied across the gel , due to the charge the proteins migrate to the lower end of gel and based on their size they move at varying rates.

Then the separated proteins are “blotted” onto a nitrocellulose paper to make them accessible for detection by antibodies either by capillary action or by applying a voltage.The proteins get transferred onto to paper while being separate.

The proteins on the paper are identified by using specific labelled antibodies( since proteins are antigens when they are incubated with different labeled antigens , the antigen antibody complex is detected using a scanning device)

Applications: 1. Western blot is primarily used for diagnostics of diseases like mad cow disease , lyme disease and in the confirmatory test of AIDS.

2. It is used as a validation tool for detecting protein expression in Gene therapy research.

3.It is regularly employed as a laboratory method for identification of proteins in a given mixture.

Advantages: 1. The method is very effective even when the amount of protein sample is small amounts.

2. The immunogenic reactions of foreign antigens can be detected more effectively as the specificity of antigen to antibody is high compared to other techniques like ELIZA.

Disadvantages: 1. The technique involves a lot of processing step which can go wrong producing false results.

2. Sometimes, the secondary antigen may interact with non intended protein, thus compromising the experiment.

3.Western blot is a extremely time consuming labor intensive process and hence cannot be applied to high through put analysis.

Allied Techniques: Two dimensional western blot, Far-western blot , One step western blot.

## SOUTHERN AND NORTHERN BLOTS

Introduction: Southern and northern blotting techniques are analytical techniques used to identify specific sequence of DNA and RNA respectively by separation of nucleic acid fragments on agarose gel followed by detection using probe hybridization.First, Southern blot was developed by Sir Edwin Southern for DNA , later a similar technique to was developed for RNA and was named Northern blot.

Working Principle: The principle involved in both the techniques is virtually the same and the procedure is performed in 4 steps.

In this step , nucleic acid is isolated by specific isolation techniques ( Incase of DNA , it might be subjected to restriction enzymes.)

The samples are loaded on the previously prepared agarose gels and allowed to run.( since the nucleic acids carry intrinsic negative charge , they migrate towards the other end of the gel based on their size.)Control lane containing known nucleic acid fragments is also run.

The nucleic acids separated on the gel are “blotted” onto a nylon or nitrocellulose paper based on the capillary effect and fixed by using UV or high temperatures.( in case of DNA , the strands are made to separate by raising the pH before transfer)

Various labeled nucleic acid probes ( complementary to the strands under examination) are added and incubated. Since the probes are labeled , presence of the specific sequence which we are looking for can be found out.

Note: In southern blot DNA is denatured in alkaline solution , where as RNA is linearized in northern blot by formaldehyde treatment.

Applications: Southern Blot: 1. It can be used to detect DNA of specific sequence and hence forms the basis for identification of Restriction fragment length polymorphism.

2. In gene cloning it is used as a confirmatory procedure to ensure whether the gene has been incorporated into vector.

Northern blot: 1. It is used as a tool to analyze gene expression.

2.Alternative splicing can be studied using this technique.

Advantages: 1. both techniques are the easiest ways to identify a sequence of DNA if small sample of nucleic acid is present.

2.The membranes can be stored and probed later which is not possible in several allied techniques.

Disadvantages: 1. The chemicals used are often harmful to the researcher.

2. Both the techniques cannot be used if there are huge samples to be analyzed.

Allied techniques: Southern Blot : DNA sequencing , PCR Northern Blot: Microarray, RT-PCR

## cDNA AND GENOMIC LIBRARY

## What are cDNA and genomic libraries?

A biological library is a set of host organisms containing DNA which represents either the genome or mRNA transcriptome of an organism. When organismal DNA is used to create a library , it is called a genomic library and when a library is created using mRNA , it is called a cDNA library

## How are the libraries constructed ?

Construction of these 2 types of libraries differs only at the first step and some times also at the choice of vector, other wise , the construction method is essentially the same.

cDNA libraries: The first and step is the isolation of mRNA. the purified mRNA strands are used to construct cDNA by the addition of oligo-dT primers and reverse transcriptase.Once a cDNA strand is formed , RNAase is added to lyse the mRNA strand. For the creation of secondary primer , a specialized reverse transcriptase is sometimes employed to add extra cytosine nucleotides to the 5’ end of newly synthesized DNA. Now the ssDNA can be amplified by PCR using oligo dT and oligo G as primers..Now the PCR product contains the mRNA transcriptome of the cell ready to be incorporated into a vector.

Genomic library: For genomic library , chromosomal DNA of the organism is made into fragments .The fragments are analysed for size by gel electrophoresis and purified to select size. these fragments are now ready to be incorporated into vectors.Wide varieties of vectors are employed in construction of genomic library based on the size of the DNA to be incorporated. Most widely used used vector for genomic library is E.coli Phage p1.

Once the cDNA or DNA fragments are ligated into their respective vector DNA, The vector DNA are transfected into a host.All the host cells containing the DNA now represent the library

Applications: cDNA library: The cDNA from the library can be used to express proteins and also as a source of intronless genes for gene therapy studies.They are also useful in understanding about the function of genes.

Genomic library: Creation of genomic library is an important step for sequencing studies. Genomic libraries are also useful in understanding the complexity of genes in organism and identification of therapeutically important genes.

Advantages : 1. Biological libraries are a ready reference for transcriptome and genome of the organism without need to isolate genes everytime the researchers have to study.

Disadvantages: 1. Due to restriction enzyme usage the library might not be the representative of entire genome/ transcriptome. 2. Accurate generation and maintainence of library is extremely laborious and costly