# Multislice CT Angiography

The Multislice CT Angiography The Multi-Slice CT scanner (MSCT)

A MSCT (multi-slice CT scanner) may be referred to as a unique computed tomography system, which consists of an array of multiple-row detectors. These are capable of collecting data at the same time from different locations. They also have the ability to scan rapidly big longitudinal (z) volumes comprising of high resolution of z-axis. This Multislice helical computed technology includes the following three main parts: the helical pitches, the helical interpolation algorithms and the z- filtering reconstruction.

The introduction of this high speed MSCT in the medical field have changed the way of thinking towards its imaging system, the patient treatment and the diagnosis. As this scan facilitates faster scan, it open ups the avenues for increasing and intensifying clinical treatment in the fields of cardiac, pediatric, trauma and vascular imaging of the human body. It also opens up the avenues for enhancing the medical application like combination studies, interventional procedures, diagnostic CT Angiography and image-guided therapy (Hu, 1999).

These Multislice CT scanners are the representatives of the future generation of the computed technology. Through them, it is possible that imaging modality can be changed to an interventional system from a basic tool of diagnosis. With the use of these machines, it will be possible for various institutions and practitioners to handle more complex heart related applications like that of calcification scoring of the coronary artery. All this will be possible because this system is contributing a 300 millisecond partial scan of the body part.

Much bolder and new applications in the field of medical are expected to be developed as a result of growing need of improved imaging technology. The technical successes, which have made possible the existence of this technology, are a testimony to the creativity of the inventor and the engineers of all these systems. As a result of introduction of these technology systems, the time and cost of all the procedures will be reduced and it will also contribute to the up gradation of the efficiency and quality of the overall health care system (Computed Tomography).

Comparison of MSCT to the SSCT:

According to Pablo R. Ros, MD, Harvard Medical School, and Boston, Massachusetts, MSCT offers a number of fundamental advantages over single-slice computed tomography (SSCT). It includes a small number of motion artifacts, a high speed, enhanced anatomic coverage, and extraordinarily high-quality three-dimensional (3-D) imaging.

During each framework rotation, MSCT defines the number of slices produced and presently it is restricted by the major vendors to 4 slices. The detectors numbers depend on the vendor and the thickness varies according to the width of the detectors. This provides MSCT with enhanced elasticity and it becomes easy to acquire the images at a specified thickness. These images can easily be segregated into thin sections of about 1.25 mm or even 1.0 mm, or can be joined together in order to generate thick slices with reduced artifact.

The enlarged velocity of MSCT means that an anatomic region can be covered 4 to 6 times more rapidly than with SSCT. For the trauma patients, this is especially important. with the new developments, scan time from 1 second to 0.5 seconds has enlarged the speed of scanning up to 8-fold. The capacity to execute very thin sections eliminates "step off" artifacts, which are often seen with predictable 3-D renderings.

The thin section imaging provides minimize partial volume effects, which permits the precise and correct evaluation of constant miniature vessels. This thin section imaging permits the images to get CT studies that produce images equivalent to those achieved persistent techniques; for example, angiography with contrast media, with improved patient comfort and an improved aptitude to influence images for more accurate description of vascular aberration.

The ability to perform multiphasicly imaging is another major advantage of MSCT over conventional SSCT. It permits individual to assess the nature of injury and make available a more accurate and definite pathologic diagnosis. The introduction of MSCT has also shown the way to original applications like "virtual" angioscopy, bronchoscopy and colonoscopy.

The drawbacks of MSCT comprise of increased dose of radiation and exceptionally large sets of axial data. These sets of data are unwieldy used to manipulate the activities. Further, it will require vendors to shift from hard copy film to focused work stations and also create a new challenge for radiologists.

The DSA and MSCT:

At present, in the diagnosis of intracranial aneurysms, the gold standard is the digital subtraction angiography (DSA). When compared to the DSA, risks of mortality and morbidity are reduced while making the use of MSCT. Adding to it, MSCT angiography; in the alleged cases of subarachnoid hemorrhage, provides a unique advantage over the DSA. This is so, because by taking some extra time, the MSCT angiography inspection may be conveniently added to the CT's standard head, thus enabling a 3- Dimensional view of a wide variety of data. When dealing with the ruptured aneurysm, the timely identification is a significant matter.

The ability of the MSCT in providing various three-dimensional sets of data helps in yielding some more anatomic information. It is too much time consuming and it becomes difficult to obtain this information from the DSA.

A research comprised of 87 alleged patients of subarachnoid hemorrhage; here the DSA and the 16-detector MSCT angiography were use so as to care the performance of both of them. From the study, it was found that 62 out of 63 were rightly recognized by the MSCT angiography machine and it comprised of 80 of total 84. The MSCT also correctly scaled out the presence of aneurysms in 24 patients. On the other hand, the DSA recognized 62 patients having 79 aneurysms and also scaled out the presence of aneurysms in about 23 patients only. Thus, this research proved that the differences in the diagnosis were not so significant, when compared to MSCT. It was rightly and accurately observed that the MSCT angiography was more accurate in diagnosing the images (Science Daily, 2007)

MSCT in cerebral Vascular Disease

A revolution in the field of cerebra-vascular diseases has been observed since the introduction of MSCT. The recently launched 32/64-slice MSCT helps us to obtain volumetric data, which are in isotopic form. For the entire brain, it can resolve the images up to 0.5 mm. Perfusion of CT has played an important role in identifying the cerebral ischemia at the early stages. Apart from this, because of the discharge of ionic radiations from it, its exposure to the same areas several times proves to be hazardous. In order to solve this problem, a filter based on diagnosing is innovated. The CT signs can be detected at early stages by the use of these filters. Penumbra can be detected, if there is an absence of early CT signs. Also, if low perfusion area is found in the CT perfusion, the penumbra can be detected. Isotropic form of volumetric data proves to be an ideal source of data for good quality 3-D CT angiography. Obtaining volumetric data through enhanced temporal resolution of MSCT helps in making the visualization of veins and arteries separately on the single 3-D CAT image. Apart from this, this technique helps in visualizing the surface of brain by making the use of isotropic data and algorithm of volumetric rendering (Kazuhiro, 2004).

Not only this; quick imaging of the cerebral vessels is also made possible due to the use of the MSCT angiography. The MSCT angiography also enables the analysis of the patterns of vascular enhancement, which further help the practitioners in identifying the dural arteriovenous fistula. It has also established its prospects as a technique which is non-invasive in detecting the vascular abnormalities. The basis of finding these vascular abnormalities is based on the vascular abnormalities.

MSCT in thoracic and abdominal aortic aneurysms

The MSCT imaging of the aorta is widely used for diagnosing several chronic and acute situations, which include aortic aneurysms, intramural hematoma, aortic dissection, traumatic injury, penetrating atherosclerotic ulcer, congenital malformations, inflammatory disorders and ruptures (Abbara, S, et al., 2007).

The most intense impact of the MSCT scans has been seen in the assessment of the images of the pancreas and the liver. The MSCT has the potential to obtain the images very quickly in different augmentations following a bolus of 150 mL of contrast. It is significant to note that the bolus should be precisely timed with the help of a test bolus. It is even possible that a scanning technology, which is assisted by computer, can also be used in order to track the contrast bolus, thus maximizing the differences of enhancement amid pathologic tissues and normal tissues.

In the screening of MSCT, the 3 phases of this region are: first, the early arterial phase, the late arterial phase, and the hepatic venous phase. The hepatic venous phase is conventionally known as the portal venous phase. The timings of each of these phases can be briefly discussed as follows: in about 15-20 seconds, the first arterial phase comes about. The occurrence of the late arterial phase takes place in about 35-40 seconds and the last hepatic venous phase occurs in about 65-70 seconds.

The most important phase is the hepatic venous phase, as it is essential for best imaging of the hemangiomas. In the late arterial phase, the gentle late arterial phase (FNH) can be distinguished from the other lesions.

The introduction of MSCT permits the clinicians to obtain the images, which are fine. This helps to reflect the etiology of the defined collateral vessels and the case of encasement of arteries or the mesenteric system. In the case of the renal lesions, its capability to carry out thin parts permits accurate description to the level of the primary neoplasm. Thus, it provides the surgeons with the right road map in the area of tumor resection (Fishman, Horton & Urban, 2000)

MSCT in Coronary artery disease:

The MSCT, over the last few years has developed to a great extent. In the present era, the computed technologies are equipped with such a good rotating gantries that have allowed us to see better motion of the coronary arteries. These MSCT's allow a more exact coronary arteries imaging and more clear view of the blockages of the coronary arteries. The commonly available MSCT scans are the 16-slice and 64-slice CT imagers.

The Effectiveness of the MSCT can be judged by the fact that if the person wants to find the presence of coronary artery diseases, the chances that the MSCT will figure out the correct result are 90%. It means that the accuracy factor in this technology is 90%. The scan, by this technique is not able to scan the whole of the coronary artery tree. From the studies, it has become clear that from 71% to 88% evaluation of the significant segments of the coronary arteries is possible by making use of the MSCT scanners. Also, the MSCT scan renders the patients with very low rate of radiations.

The MSCT technology avoids the risks involved in the invasive examination of the patients, which they face during the coronary angiography. The patients who have the moderate degree of coronary calcification, a higher accuracy and reliability in the revealing of coronary artery stenosis is possible through the use of 16-MSCT. Due to the increase of calcified plaques, the coronary arteries narrow down. This situation is known as the Coronary artery stenosis. The new 16-MDCT has helped in the improvement of the image of coronary arteries so that the accurate diagnosis of those patients can be done who are with no or moderate coronary calcification.

However, in the cases when the patients are suffering from rigorous coronary calcification, the use of conventional coronary angiography i.e. the DSA will still be essential to identify and analyze and even bar the high-grade stenosis of the coronary tree (RxPG News, 2007).

MDCT in pulmonary embolism

According to the researchers from Rhode Island Hospital, to diagnose suspected pulmonary embolism in hospitalized patients MDCT pulmonary angiography is replacing the ventilation-perfusion lung scan. A high-tech CT examination that images the pulmonary arteries after IV injection of iodinated contrast material forms the basis of the MDCT pulmonary angiography. In contrast, the Ventilation-perfusion lung scintigraphy is an assessment that is performed through the IV vaccination of a radio pharmaceutical and the breathing in of a radioactive gas. There are numerous reasons for the move in the direction of MDCT pulmonary angiography, according to the views of the researchers. The current generation of MDCT scanners can speedily image the pulmonary vasculature with high resolution; it thus enables the undersized pulmonary emboli to be analyzed more frequently and with greater confidence.

Along with this, other important diagnostic techniques like pneumothorax, aortic analysis, rib fractures or cancer are seen with CT. Up to 30% of patients are suspected with pulmonary embolism. According to Dr. Donohoo, these findings can't be made with a ventilation-perfusion scan. Over the last 15 years, MDCT has practiced rapid technological advancement, whereas ventilation-perfusion lung scintigraphy has remained fundamentally unchanged. Suppose a patient experiences pain in chest and there is a clinical doubt for pulmonary embolism, then CT needs to be performed. In general, this probably results in enhanced patient care because the presence or absence of pulmonary embolism and any other significant diagnoses are completed in a timely manner and appropriate treatment.

MDCT in peripheral vascular disease

For imaging peripheral vascular diseases, CT angiography has proved to be a viable tool. In different clinical situations CT angiography can effectively compete with the diagnostic digital subtraction angiography (DSA). It is easy to obtain thin slices of diaphragm to ankle within 40 seconds with the help of 16 DCT (Jakobs, Wintersperger & Becker, 2004). In order to understand the volumetric data transfers, the transverse reconstructions are not appropriate. For effective volumetric analysis, influential post-processing tools are required to perform routine interpretation in an efficient manner.

Since, CT peripheral angiography is easily available therefore; it can be applied in pre or post procedural situations of patients (Jakobs, Wintersperger & Becker, 2004). With acute onset of clinical symptoms, it serves as a first line modality in patients. As CT peripheral arteriography is gaining clinical acceptance, further studies are required for the evaluation of clinical value in the method of peripheral arterial imaging. In this study, I have mentioned the present status of multidetector CT peripheral arteriography (Jakobs, Wintersperger & Becker, 2004).

The local demonstration of the atherosclerosis is shown by peripheral arterial disease, in a lower limb which is distal to the aortic bifurcation. This problem is found mostly in the age group of 55 years. The patients with this disease show a higher level and severity of stenoses. The variations caused by this disease have great impact on clinical decision making. For anatomic assessment of peripheral arterial disease, digital subtraction angiography has traditionally been used. Risk is also associated with the digital subtraction angiography. For example: the risk of mortality and morbidity. Apart from this, digital subtraction angiography is used in planning the treatment (Jakobs, Wintersperger & Becker, 2004).

Future Development:

MDCT provides numerous advantages, which include reduction in acquisition time, creation of thinner and thicker sections from the raw data, etc. An enhanced 3-D rendering with declined helical artifacts is also provided by it. These features of MDCT scanning are important for the characterization of focal lung and lesions of lever by creating thin section retrospectively.

The fundamental improvement in MDCT includes faster speed, longer distance travel and better section thickness. Last but not the least; it has also improved arterial imaging sacroiliac and lower extremity. The opportunities provided by Multislice CT include better diagnostic image and improved patient care along with the high quality imaging. Scanning can easily be obtained from a distance less than one centimeter. MDCT allows non invasive approach to HCC imaging. It is easy to locate tumor thrombus inside the vascular structure in an efficient manner by using multiphasic imaging. This has made it easy to distinguish between tumor thrombus and bland tumor thrombus by identifying enlargement of clot in early phase (Imaging Economics, 2002).

References

Abbara, S. et al. (2007). Computed Tomography. Journal of Cardiovascular1 (1): 40-54

Coakley, F.V. & Benjamin, M (April, 2002). Multislice CT: A Reveloution in Making. Imaging Economics.

Computed Tomography. Retrieved May 6, 2008, from http://www.radiology.uiowa.edu/CT/CTindex.htm

Fishman, E.K, Horton, K.M, Urban, B.A. (2000). Multidetector CT angiography in the evaluation of pancreatic carcinoma: preliminary observations. J Comput Assist Tomogr; 24:849-853.

Frogros, R.N. (2006). Multislice CT Scans. Retrieved May 6, 2008, from http://heartdisease.about.com/od/coronaryarterydisease/a/multisliceCT.htm

Kazuhiro, K. (2004). Application of multislice CT for cerebro-vascular disease. Japanese Journal of Stroke 26(4): 552-556

Lee, H.D. et. al.(2005). Imaging of the Ischemic Penumbra in Acute Stroke. Korean Journal of Radiology 6(2):64-74.

Hu, H (1999, January 1). Multi-slice helical CT: Scan and reconstruction. Medical Physics26(1):5-18.

Jakobs T.F, Wintersperger B. J, & Becker. (2004). CRMDCT-imaging of peripheral arterial disease. Journal on Semin Ultrasound CT MR. 25(2):145-55

Peripheral Arterial Disease (2006). Retrieved May 6, 2008, from

http://www.google.co.in/imgres?imgurl=http://www.nhlbi.nih.gov/health/dci/images/pad_plaque.gif&imgrefurl=http://www.nhlbi.nih.gov/health/dci/Diseases/pad/pad_what.html&h=126&w=116&sz=76&tbnid=cwVgSMSxmDYJ:&tbnh=126&tbnw=116&prev=/images%3Fq%3DPhotos%2Bof

RxPG News (2007). MDCT Highly Accurate for Diagnosing Coronary Artery Disease in Patients With Zero to Moderate Coronary Calcification. American Journal of Roentgenology 184:1413-1419.

Spiral (Helical) CT for Pulmonary Embolism and Deep Vein Thrombosis (2008). Retrieved May 6, 2008, from http://www.google.co.in/imgres?imgurl=http://www.medscape.com/content/2003/00/46/04/460426/art-copm460426.fig1.jpg&imgrefurl=http://doctor.medscape.com/viewarticle/460426_3&h=108&w=130&sz=28&tbnid=tavl231YKNcJ:&tbnh=108&tbnw=130&prev=/images%3Fq%3DPhotogr

Science Daily (2007,August 1). Imaging Technique Accurate In Aneurysm Detection And Therapy Planning. Science News.

Thoracic Aortic Aneurysm (2007). Retrieved May 6, 2008, from http://www.clevelandclinic.org/heartcenter/pub/guide/disease/aorta_marfan/aorticaneurysm.htm

Yee, J., Akerkar, G.A, Hung, R.K, Steinauer-Gebauer, A.M, Wall, S.D, Quaid, K.R. (2001). Colorectal neoplasia: performance characteristics of CT colonography for detection in 300 patients. Journal of Radiology: 219:685-692.